|  |  |
| --- | --- |
| Probes  CS616 | CR100 |
| 1 | Green 🡪 2H  Red 🡪 12V  Orange 🡪 C4  Black 🡪 Ground  Clear 🡪 ¥ |
| 2 | Green 🡪 2H  Red 🡪 12V  Orange 🡪 C5  Black 🡪 Ground  Clear 🡪 ¥ |
| 3 | Green 🡪 3H  Red 🡪 12V  Orange 🡪 C6  Black 🡪 Ground  Clear 🡪 ¥ |
| 4 | Green 🡪 3L  Red 🡪 12V  Orange 🡪 C7  Black 🡪 Ground  Clear 🡪 ¥ |

|  |  |
| --- | --- |
| Probes  CS616 | CR100 |
| 1 | Green 🡪 2L  Red 🡪 12V  Orange 🡪 C4  Black 🡪 Ground  Clear 🡪 ¥ |
| 2 | Green 🡪 2H  Red 🡪 12V  Orange 🡪 C5  Black 🡪 Ground  Clear 🡪 ¥ |
| 3 | Green 🡪 3H  Red 🡪 12V  Orange 🡪 C6  Black 🡪 Ground  Clear 🡪 ¥ |
| 4 | Green 🡪 3L  Red 🡪 12V  Orange 🡪 C7  Black 🡪 Ground  Clear 🡪 ¥ |

|  |  |
| --- | --- |
| Probes  CS616 | CR100 |
| 1 | Green 🡪 2H  Red 🡪 12V  Orange 🡪 C4  Black 🡪 Ground  Clear 🡪 ¥ |
| 2 | Green 🡪 2H  Red 🡪 12V  Orange 🡪 C5  Black 🡪 Ground  Clear 🡪 ¥ |
| 3 | Green 🡪 3H  Red 🡪 12V  Orange 🡪 C6  Black 🡪 Ground  Clear 🡪 ¥ |
| 4 | Green 🡪 3L  Red 🡪 12V  Orange 🡪 C7  Black 🡪 Ground  Clear 🡪 ¥ |

|  |  |
| --- | --- |
| Probes  CS616 | CR100 |
| 1 | Green 🡪 2H  Red 🡪 12V  Orange 🡪 C4  Black 🡪 Ground  Clear 🡪 ¥ |
| 2 | Green 🡪 2H  Red 🡪 12V  Orange 🡪 C5  Black 🡪 Ground  Clear 🡪 ¥ |
| 3 | Green 🡪 3H  Red 🡪 12V  Orange 🡪 C6  Black 🡪 Ground  Clear 🡪 ¥ |
| 4 | Green 🡪 3L  Red 🡪 12V  Orange 🡪 C7  Black 🡪 Ground  Clear 🡪 ¥ |